

Tehničke Karakteristike

|  |  |
| --- | --- |
| Description | EM122, 8DO×RELAY |
| Physical Features |
| Dimensions (W×H×D) | 46×80×62mm |
| Power loss (dissipation) | 2W |
| Output Features |
| Number of integrated outputs | 8 |
| Output type | Relay, dry contact |
| Output Voltage | DC：5～30V，AC：5～250V |
| Output Current |
| Logic 1 signalNumber of output groupsPer group mounting (maximum)Number of output ON (maximum)Maximum current per groupLamp loadContact resistanceSurge currentOverload protection | 2A2488A5W0.2 ohm8A for 100ms, maximumNo |
| Isolation |
| In group ofIsolation coil to contactIsolation between open contactsIsolation resistance | 4 points1500 VAC for 1minute750 V AC for 1 minute100M ohm, minimum when new |
| Relay Features |
| Switch delaySwitch FrequencyLifetime mechanical (no load)Lifetime contacts at rated load | 15ms, maximum1HZ5,000,000 open/close cycles300,000 |
| Cable Length |
| Unshielded | 150 m |
| Shielded | 500 m |
| Power Consumption |
| From +5V(from I/O bus)From L+L+ coil power voltage range | 56 mA9 mA per output when ON20.4 to 28.8 VDC |

Dimenzije



Šema Povezivanja

