

Tehničke karakteristike

|  |  |
| --- | --- |
| Description | EM121 DI 8×24V DC |
| Physical Size |
| Dimensions(W×H×D) | 46×80×62mm |
| Power dissipation | 2W |
| Input Features　 |
| Number of integrated inputs | 8 |
| Input type | Sink/Source(IEC Type 1 sink) |
| Input Voltage　 |
| Maximum continuous permissible | 30 VDC |
| Surge | 35 VDC, 0.5 s |
| Rated value | 24 VDC,  4 mA |
| Logic 1 signal(minimum) | 15 VDC, 2.5 mA |
| Logic 0 signal(maximum) | 5 VDC, 1mA |
| Isolation(Field Side to Logic Circuit)　 |
| Optical isolation(Galvanic) | 500 VAC, 1 minute |
| Isolation groups of | 4 points |
| Maximum input delay times | 4.5ms |
| Connection of 2 Wire Proximity Sensor(Bero)　 |
| Permissible leakage current | 1 mA, maximum |
| Cable Length　 |
| Unshielded(not HSC) | 300 m |
| Shielded | 500 m |
| Number of inputs ON Simultaneously　 |
| 40℃ | 8 |
| 50℃ | 8 |
| Power Consumption |
| From +5V DC(from I/O bus) | 40 mA |

Dimenzije



 Šema spajanja

